HITEC UNIVERSITY TAXILA
OFFICE OF THE PROCUREMENT
Museum Road, Taxila Cantt | Tel: 051-4908146-9 (Ext. 308) | Email: procurement.office@hitecuni.edu.pk
	REQUEST FOR QUOTATION (RFQ)



	RFQ Ref No: HITEC/PROC/RFQ/2026/2871
	Delivery Location: HITEC University, Taxila Cantt

	Issue Date: 15 October, 2026
	SUBMISSION DEADLINE: 21th October, 2026 @1200 HRS 

	Procurement Title: Procurement of Consumables Items



1. SCHEDULE OF REQUIREMENTS & TECHNICAL SPECIFICATIONS
	S/N
	Items Required
	Detailed Technical Specifications
	Required Qty
	UOM

	1
	PCB board
	1×1 feet
	10
	Nos

	2
	Ferric chloride
	powdered
	2kg
	kgs

	3
	Water tub
	10 ltr
	2
	litter

	4
	Memory card
	32 GB Samsung MICRO
	5
	Nos

	5
	Acrylic sheet cover for STM 32 with fan
	As per sample
	10
	Nos

	6
	Acrylic fan sheet cover for Raspberry pi 4 with fan
	As per sample
	5
	Nos

	7
	Injection syringe
	--
	30
	Nos

	8
	Gel electrodes
	--
	2000
	Nos

	9
	Soldering station with stand
	  
Sunshine S3 60W 3-Customizable Channels C210

	01
	Nos

	10
	Soldering iron
	30 watt
	05
	Nos

	11
	Soldering bits 
	  
Compatible with Sunshine S3 60W 3-Customizable Channels C210

	10
	Nos

	12
	Soldering paste
	--
	10 packs small
	Nos

	13
	Soldering spunch
	--
	50
	Nos

	14
	Soldering wick
	R 300 mechanic
	02 roll
	Nos

	15
	Soldering wire 500
	0.6mm
	1 roll
	Nos

	16
	Bread boards
	--
	50
	Nos

	17
	Connecting wire roll
	Copper
	04 roll
	Nos

	18
	Op- Amp IC
	TL 074
	50
	Nos

	19
	Op- Amp IC
	INA 128
	30
	Nos

	20
	Capacitor
	0.1 uf ceramic
	100
	Nos

	21
	Capacitor
	0.2 uf ceramic
	100
	Nos

	22
	Resistor 
	500 Ohm
	1000
	Nos

	23
	Resistor 
	1k Ohm
	1000
	Nos

	24
	Resistor 
	1.5 k Ohm
	1000
	Nos

	25
	Resistor 
	2k Ohm
	1000
	Nos

	26
	Resistor 
	2.2 k Ohm
	1000
	Nos

	27
	Resistor 
	3.3 k Ohm
	1000
	Nos

	28
	Resistor 
	4.7 k Ohm
	1000
	Nos

	29
	Resistor 
	6.8 k Ohm
	1000
	Nos

	30
	Resistor
	10 k Ohm
	1000
	Nos

	31
	Resistor
	15k Ohm
	1000
	Nos

	32
	DMM
 battery connector
	--
	20
	Nos

	33
	LED
	Red        5mm
	100
	Nos

	34
	LED 
	Yellow      5mm
	100
	Nos

	35
	LED
	Green       5mm
	100
	Nos

	36
	Diode
	IN 4007
	200
	Nos

	37
	 Temperature Sensor
	LM 35
	20
	Nos

	38
	Audio jack
	Female 3.5mm 6 pins
	20
	Nos

	39
	 Ardino jumper wire
	Male to male
	10 strips
	Nos

	40
	Ardino jumper wire
	Male to female
	10 strips
	Nos

	41
	Ardino jumper wire
	female to female
	10 strips
	Nos

	42
	Ultrasonic sensor
	--
	10
	Nos

	43
	ECG modules 
	MAX 30003 WING
	15
	Nos

	44
	Controller (Dev module)
	ESP-32
	10
	Nos

	45
	Male header Single row
	--
	20
	Nos

	46
	Android cable Micro
	8600 for data transfer
	10
	Nos

	47
	Variable resistor
	10k
	50
	Nos

	48
	Wall clock cell
	Power plus
	20
	Nos

	49
	DMM battery
	9v power plus
	40
	Nos

	50
	PDMS Elastomer solution
	Sylgard 184
	0.5 Kg 01 Bottle Kit
	kgs

	51
	Acrylic Acid solution
	(99% for synthesis)
	500 ml 01 Bottle
	Liter

	52
	Chitosan Powder
	MW 161.2
	50g 01 Bottle
	kgs

	53
	Medical Titanium Rod
	Spec.: Ti-6al-4V
	1Kg
	kgs

	54
	Gallium Liquid Metal
	EGaIn Liquid Metal
	50g 01 Bottle
	kgs

	55
	PTFE (Teflon)
	Tensile Test Specimen Mold
	3 Molds
	Nos

	56
	PMMA Molds
	PDMS casting Molds
	3 Molds
	Nos

	57
	Polymethy Methacrylate (PMMA) rods/sticks
	In the form of small rods or sticks
	5 
	Nos

	58
	Tensile sample polyethyene
	ME-8235
	20
	Nos

	59
	Tensile sample
steel
	ME-8243
	20
	Nos

	60
	Tensile sample
Aluminum
	ME-8231
	20
	Nos

	61
	Stress/strain coupons
	648-07654
.003in CR STEEL

	20
	Nos

	62
	Stress/strain coupons
	648-07655
.003in STL ANNEAL

	20
	Nos

	63
	Stress/strain coupons
	648-07656
.005in BRASS

	20
	Nos

	64
	Stress/strain coupons
	648-07657
.003in AL FOIL

	20
	Nos

	65
	Calibration cubits for UV spectrophoto meter
	C-7200
	02
	Nos

	66
	Agros
	--
	200gm
	kgs

	67
	Stirrers
	Glass
	10
	Nos

	68
	Test Tubes 
	Glass
	50
	Nos

	69
	Dropper 
	Plastic
	20
	Nos

	70
	Filter Paper 
	Pack of 250
	02 Boxes
	Nos

	71
	Beaker 
	50 ml
	20
	Nos

	72
	Beaker 
	100 ml
	20
	Nos

	73
	Beaker 
	250 ml
	20
	Nos

	74
	Laboratory Gloves
	125 pairs box
	2 Boxes
	Nos

	75
	 Face Mask
	Pack of 200 box
	04 box
	Nos

	76
	Microscope slides
	Pack of 50
	02 box
	Nos

	77
	Alchohal swab
	Pack of 250
	[bookmark: _GoBack]03 box
	Nos

	78
	Glucose-D
	Pakistani Glucose-D manufactured by United Pak Food Limited
	1kg
	kgs

	79
	Albumin powder
	---
	250g
	kgs

	80
	Buffer pH4
	500ml/bottle
	01 bottle
	liter

	81
	Biuret Reagent
	500ml/bottle
	01 bottle
	liter

	82
	Millon's Reagent
	500ml/bottle
	01 bottle
	liter

	83
	Sodium nitrite 
	(99% purity)
	500g
	kgs



2. INSTRUCTIONS TO BIDDERS & COMMERCIAL TERMS
	1. Submission on Vendor's Official Letterhead: Bidders MUST submit their complete technical details, unit prices, total amounts, and delivery lead times printed on their own official company letterhead, bearing valid FBR NTN, quotation reference number, date, authorized signature, and company stamp.
2. Inclusive Pricing Mandate: All quoted prices must be fully inclusive of all applicable government taxes, duties, freight, handling, and delivery charges to HITEC University Taxila. No separate tax addition or extra charges over and above the quoted prices shall be allowed under any circumstances.
3. Sealed Outer Envelope: Quotations must be delivered in a sealed envelope clearly marked: 'RFQ Ref No: HITEC/PROC/RFQ/2026/2871 — DO NOT OPEN BEFORE CLOSING DEADLINE' addressed to Manager Procurement, Procurement Branch, HITEC University Taxila.
4. Closing Deadline Strictness: Bids received after the submission deadline date and time will be rejected automatically.
5. Tax Eligibility & ATL Status: Only active taxpayers listed on FBR's Active Taxpayers List (ATL) with a valid NTN are eligible to participate. Applicable statutory taxes will be withheld at source as per Government rules.
6. Commercial Validity & Lead Time: Quoted prices must remain valid for a minimum of 30 Days from the closing date. Delivery lead time must be explicitly stated in calendar days on the quotation.
7. Payment Terms: 100% payment upon complete delivery, physical inspection, and issuance of Acceptance Certificate by University Inspection Committee.
8. Institutional Rights: HITEC University reserves the right to accept or reject any quotation, split quantities, or annul the procurement process without incurring liability.



	ISSUED BY ORDER OF THE DIRECTOR ADMINISTRATION (HITEC UNIVERSITY TAXILA)


_____________________________________
Bilal Ahmed Shah / Manager Procurement
Date of Issuance: 15 October, 2026



